PRODUCT REQUIREMENTS DOCUMENT

Development of an Improved Deep Learning Model

for Skin Lesion Classification

| Author | Ojedokun Opeyemi Emmanuel (252819) |
| --- | --- |
| Supervisor | Dr Angela Makolo |
| Document Type | MSc Research Product Requirements Document |
| Version | 1.0 |
| Date | 30 April 2026 |
| Status | Draft |

# 1. Executive Summary

This document defines the product requirements for an MSc research project that develops an improved deep learning model for automated multi-class skin lesion classification. The system integrates domain-specific preprocessing, transfer learning on two state-of-the-art CNN architectures (ResNet50 and EfficientNet-B3), and a standardised comparative evaluation of three Explainable AI (XAI) methods — Grad-CAM, LIME, and SHAP — against expert-annotated segmentation masks.

The core deliverable is a reproducible, end-to-end deep learning pipeline capable of classifying dermoscopic images at clinically meaningful accuracy, while generating and quantitatively benchmarking pixel-level explanations. This addresses a critical gap in current literature: no standardised framework exists for comparing XAI methods under identical experimental conditions in dermatological AI.

# 2. Problem Statement

Current deep learning classifiers for skin lesion diagnosis suffer from two interrelated limitations:

- Opacity: Internal feature representations that drive predictions are not exposed, creating a critical interpretability gap that inhibits clinical adoption.

- Absence of a standardised XAI benchmark: Although Grad-CAM, LIME, and SHAP are widely used, no study has conducted a pixel-level, head-to-head comparison of these three methods under identical experimental conditions against clinically validated ground truth.

Additionally, existing high-accuracy models (e.g. Munjal et al., 2024 — 96% accuracy) still lack quantitative evaluation of their explanations against expert-annotated segmentation masks, meaning that accuracy alone is insufficient as a benchmark for clinical deployment.

# 3. Project Scope

## 3.1 In Scope

- Domain-specific image preprocessing and augmentation pipeline for dermoscopic images.

- Fine-tuning of ResNet50 and EfficientNet-B3 architectures using ImageNet transfer learning weights.

- Implementation of three XAI methods: Grad-CAM, LIME, and DeepSHAP.

- Pixel-level quantitative evaluation of XAI outputs against ISIC 2018 expert segmentation masks.

- Multi-class skin lesion classification performance evaluation.

- Benchmarking results against state-of-the-art models.

## 3.2 Out of Scope

- Clinical deployment or real-time inference in a hospital environment.

- Mobile or embedded system optimisation.

- Collection of new dermoscopic images or clinical metadata beyond the specified datasets.

- Patient-facing user interface or diagnostic reporting system.

# 4. Goals and Objectives

## 4.1 Primary Goal

To develop an improved deep learning model for automated multi-class skin lesion classification that is both high-performing and interpretable, providing a standardised framework for XAI method evaluation.

## 4.2 Specific Objectives

- Design and implement a domain-specific preprocessing and augmentation pipeline incorporating hair removal, class-weighted sampling, and geometric transformations.

- Develop and fine-tune ResNet50 and EfficientNet-B3 models using transfer learning from ImageNet weights.

- Implement Grad-CAM, LIME, and SHAP (DeepSHAP) and comparatively analyse their explanatory fidelity using Intersection over Union (IoU) and Pointing Game accuracy against ISIC 2018 expert segmentation masks.

- Evaluate classification performance using accuracy, sensitivity, specificity, F1-score, and AUC-ROC.

- Benchmark results against existing state-of-the-art models on the same dermoscopic datasets.

# 5. Data Requirements

## 5.1 Datasets

| Dataset | Purpose | Key Characteristics | Source |
| --- | --- | --- | --- |
| ISIC 2020 | Primary classification training | 33,126 dermoscopic images; 2,056 patients; 1.8% melanoma; patient metadata included | Rotemberg et al., 2021 |
| HAM10000 | Multi-class classification training | 10,000+ multi-source dermatoscopic images; 7 diagnostic categories | Tschandl et al., 2018 |
| ISIC 2018 Task 1 | XAI ground truth evaluation | Expert-annotated segmentation masks for pixel-level XAI comparison | ISIC Challenge 2018 |

## 5.2 Data Preprocessing Requirements

- Hair and artifact removal using Black Hat morphological filtering.

- Image normalisation and resizing to model-required input dimensions.

- Data augmentation: geometric transformations (flips, rotations, zoom), colour jitter, and cutout regularisation.

- Class imbalance mitigation via class-weighted sampling and oversampling techniques.

# 6. Functional Requirements

## 6.1 Preprocessing Module

| ID | Requirement | Description | Priority |
| --- | --- | --- | --- |
| FR-01 | Hair Removal | Apply Black Hat morphological filtering to remove hair and dermoscopic artifacts from input images. | High |
| FR-02 | Image Augmentation | Apply geometric transformations (flips, rotations, shear, zoom) and colour jitter for training set augmentation. | High |
| FR-03 | Class Balancing | Implement class-weighted sampling and/or SMOTE-equivalent oversampling to address class imbalance. | High |
| FR-04 | Image Normalisation | Normalise pixel values using ImageNet mean and standard deviation for transfer learning compatibility. | High |

## 6.2 Model Development Module

| ID | Requirement | Description | Priority |
| --- | --- | --- | --- |
| FR-05 | ResNet50 Fine-Tuning | Load ImageNet-pretrained ResNet50 and fine-tune on dermoscopic datasets with a custom classification head. | High |
| FR-06 | EfficientNet-B3 Fine-Tuning | Load ImageNet-pretrained EfficientNet-B3 and fine-tune on dermoscopic datasets with a custom classification head. | High |
| FR-07 | Multi-Class Classification | Produce softmax probability outputs across all target skin lesion categories. | High |
| FR-08 | Model Checkpointing | Save best-performing model weights based on validation loss or AUC-ROC during training. | Medium |

## 6.3 XAI Integration Module

| ID | Requirement | Description | Priority |
| --- | --- | --- | --- |
| FR-09 | Grad-CAM Implementation | Generate gradient-weighted class activation maps for each prediction highlighting relevant image regions. | High |
| FR-10 | LIME Implementation | Generate local surrogate model explanations (superpixel-level) for individual image predictions. | High |
| FR-11 | DeepSHAP Implementation | Compute Shapley value attribution maps using DeepSHAP for pixel-level contribution analysis. | High |
| FR-12 | Attribution Visualisation | Overlay XAI attribution maps on original dermoscopic images for qualitative inspection. | Medium |

## 6.4 Evaluation Module

| ID | Requirement | Description | Priority |
| --- | --- | --- | --- |
| FR-13 | IoU Computation | Compute Intersection over Union between XAI attribution masks (thresholded) and ISIC 2018 segmentation masks. | High |
| FR-14 | Pointing Game | Evaluate whether the highest-attribution pixel falls within the expert-annotated lesion boundary. | High |
| FR-15 | Classification Metrics | Report accuracy, sensitivity, specificity, F1-score, and AUC-ROC per class and macro-averaged. | High |
| FR-16 | Benchmarking | Compare results against published state-of-the-art models on the same datasets using identical metric definitions. | Medium |

# 7. Non-Functional Requirements

| ID | Category | Requirement | Priority |
| --- | --- | --- | --- |
| NFR-01 | Reproducibility | All experiments must be fully reproducible using fixed random seeds, logged hyperparameters, and versioned datasets. | High |
| NFR-02 | Performance | Model inference should complete within a reasonable time frame on GPU hardware (e.g. NVIDIA T4 or equivalent). | Medium |
| NFR-03 | Scalability | The preprocessing and evaluation pipeline should be extensible to other medical imaging datasets. | Medium |
| NFR-04 | Code Quality | All code must be documented, modular, and version-controlled (e.g. GitHub). | High |
| NFR-05 | Transparency | Hyperparameter choices, dataset splits, and experimental conditions must be explicitly documented. | High |

# 8. System Architecture Overview

The system is structured as a five-stage pipeline:

- Stage 1 — Data Collection: Acquire ISIC 2020, HAM10000, and ISIC 2018 Task 1 datasets.

- Stage 2 — Preprocessing: Apply hair removal, augmentation, normalisation, and class balancing.

- Stage 3 — Model Development: Fine-tune ResNet50 and EfficientNet-B3 using ImageNet transfer learning.

- Stage 4 — XAI Integration: Apply Grad-CAM, LIME, and DeepSHAP post-training to generate attribution maps.

- Stage 5 — Evaluation: Compute IoU, Pointing Game accuracy, classification metrics, and benchmark against SOTA.

# 9. Evaluation Metrics and Success Criteria

## 9.1 Classification Performance

| Metric | Definition | Target Benchmark |
| --- | --- | --- |
| Accuracy | Proportion of correct predictions | >= 95% (cf. Akram et al., 96.75%) |
| Sensitivity (Recall) | True positive rate per class | >= 0.90 macro-averaged |
| Specificity | True negative rate per class | >= 0.90 macro-averaged |
| F1-Score | Harmonic mean of precision and recall | >= 0.90 macro-averaged |
| AUC-ROC | Area under the ROC curve | >= 0.95 |

## 9.2 XAI Fidelity Metrics

| Metric | Definition | Applied To |
| --- | --- | --- |
| Intersection over Union (IoU) | Overlap between thresholded XAI mask and expert segmentation mask | Grad-CAM, LIME, SHAP |
| Pointing Game Accuracy | Whether the peak attribution pixel falls within the expert-annotated lesion region | Grad-CAM, LIME, SHAP |

# 10. Technology Stack

| Component | Technology / Library |
| --- | --- |
| Programming Language | Python 3.9+ |
| Deep Learning Framework | PyTorch or TensorFlow/Keras |
| Pretrained Models | torchvision (ResNet50, EfficientNet-B3) / ImageNet weights |
| XAI Libraries | pytorch-grad-cam, LIME (lime), SHAP (shap / DeepSHAP) |
| Image Processing | OpenCV, Pillow, scikit-image |
| Data Handling | NumPy, pandas |
| Metrics & Evaluation | scikit-learn, torchmetrics |
| Visualisation | Matplotlib, seaborn |
| Experiment Tracking | Weights & Biases (W&B) or MLflow |
| Version Control | Git / GitHub |
| Hardware | GPU (NVIDIA CUDA-compatible, e.g. Google Colab / institutional HPC) |

# 11. Project Milestones

| # | Milestone | Deliverable | Phase |
| --- | --- | --- | --- |
| 1 | Literature Review Complete | Annotated bibliography and research gap summary | Planning |
| 2 | Dataset Acquisition & Preprocessing | Cleaned and augmented dataset splits ready for training | Development |
| 3 | Baseline Model Training | ResNet50 and EfficientNet-B3 trained, validation metrics logged | Development |
| 4 | XAI Implementation | Grad-CAM, LIME, SHAP integrated and attribution maps generated | Development |
| 5 | Quantitative XAI Evaluation | IoU and Pointing Game scores computed for all three methods | Evaluation |
| 6 | Benchmarking & Analysis | Performance compared against state-of-the-art, results interpreted | Evaluation |
| 7 | Thesis Write-Up & Submission | Complete MSc dissertation submitted | Dissemination |

# 12. Risks and Mitigations

| Risk | Severity | Mitigation Strategy |
| --- | --- | --- |
| Severe class imbalance in ISIC 2020 (1.8% melanoma) | High | Apply class-weighted loss functions and oversampling; report weighted metrics. |
| Demographic bias in datasets (skewed toward fair skin) | Medium | Acknowledge bias in limitations; use diverse augmentation to partially mitigate. |
| Computational resource constraints for large-scale training | Medium | Leverage Google Colab Pro, institutional HPC, or cloud GPU resources. |
| XAI methods producing low IoU vs. expert masks | Medium | Tune attribution thresholding; report findings as a contribution to the benchmark. |
| Reproducibility failure due to non-deterministic GPU ops | Low | Fix random seeds; document all hyperparameters and library versions. |

# 13. Expected Contribution to Knowledge

This research makes the following original contributions to the field of explainable deep learning in medical image classification:

- First standardised pixel-level comparative evaluation of Grad-CAM, LIME, and SHAP under identical experimental conditions, using ISIC 2018 expert-annotated segmentation masks as ground truth.

- Empirical evidence informing the selection of XAI methods for clinical AI deployment in dermatology.

- Demonstration of how domain-specific preprocessing and augmentation improve CNN classification performance on imbalanced dermoscopic datasets.

- A reproducible evaluation framework extensible to other medical imaging domains.

# 14. Key References

Hauser, K., et al. (2022). Explainable Artificial Intelligence in Skin Cancer Recognition: A Systematic Review. European Journal of Cancer, 167, 54-69.

Rotemberg, V., et al. (2021). A Patient-Centric Dataset of Images and Metadata for Identifying Melanomas Using Clinical Context. Scientific Data, 8, 34.

Adebiyi, A., et al. (2024). Accurate Skin Lesion Classification Using Multimodal Learning on the HAM10000 and ISIC 2017 Datasets. medRxiv.

Akram, A., et al. (2023). Segmentation and Classification of Skin Lesions Using Hybrid Deep Learning in the Internet of Medical Things. Skin Research and Technology, 29(11).

Munjal, G., et al. (2024). SkinSage XAI: An Explainable Deep Learning Solution for Skin Lesion Diagnosis. Health Care Science (Wiley), 3(6), 438-455.

Abdellatif, A., et al. (2025). An Integrated Deep Learning Model with EfficientNet and ResNet for Accurate Multi-Class Skin Disease Classification. Diagnostics, 15(5), 551.

Manole, I., et al. (2024). Enhancing Dermatological Diagnostics with EfficientNet: A Deep Learning Approach. Bioengineering, 11(8), 810.

Selvaraju, R.R., et al. (2017). Grad-CAM: Visual Explanations from Deep Networks via Gradient-Based Localization. IEEE ICCV, 618-626.

Ribeiro, M.T., Singh, S., and Guestrin, C. (2016). Why Should I Trust You? Explaining the Predictions of Any Classifier. ACM SIGKDD.

Lundberg, S.M. and Lee, S.I. (2017). A Unified Approach to Interpreting Model Predictions. NeurIPS, 30, 4768-4777.

Tschandl, P., et al. (2018). The HAM10000 Dataset: A Large Collection of Multi-Source Dermatoscopic Images. Scientific Data, 5, 180161.